## INS
~TFM_INS
| Pset_PN | Attribute | AllRegions
Biomass Integrated Gasification CC + CCS Seq post combustion | EUIGCCWOOCCS01 | START | 2100
Fluidized Bed Biomass + CCS Seq post combustion | EUSTWOOCCS01 | START | 2100
CCGT Combined Cycle Gas Turbine + CCS Seq post combustion | EUCCGASCCSpos20 | START | 2100
Integrated gasification combined cycle + CCS Seq pre combustion | EUIGCOHCCSpre20 | START | 2100
Integrated Gasification Combined Cycle lignite + CCS Seq pre-combustion | EUIGCOLCCSpre20 | START | 2100
Super-critical Pulverised Coal + CCS Seq Oxyfuel | EUPCCOHCCSoxy20 | START | 2100
Supercritical pulverised coal + CCS Seq post combustion | EUPCCOHCCSpos20 | START | 2100
Fluidised bed lignite + CCS Seq post combustion | EUPCCOLCCSpos20 | START | 2100
EPLT: Steam Turbine.CO2Seq.IISGAS | EUSTIISGASCS101 | START | 2100
CHP: Comb CYC.GAS.CCSpoc.PUB | PUCCSGAS1 | START | 2100
CHP: Comb CYC.GAS.CCSprc.PUB | PUCCSGAS2 | START | 2100
CHP: Comb CYC.GAS.CCSoxy.PUB | PUCCSGAS3 | START | 2100
CHP: Int Gasification.COH.CCSpoc.PUB | PUICSCOH1 | START | 2100
CHP: Int Gasification.COH.CCSprc.PUB | PUICSCOH2 | START | 2100
CHP: Int Gasification.COH.CCSoxy.PUB | PUICSCOH3 | START | 2100
CHP: Int Gasification.COL.CCSpoc.PUB | PUICSCOL1 | START | 2100
CHP: Int Gasification.COL.CCSprc.PUB | PUICSCOL2 | START | 2100
CHP: Int Gasification.COL.CCSoxy.PUB | PUICSCOL3 | START | 2100
CHP: Steam.Turbine.SupCr.COH.CCSpoc.PUB | PUSCSCOH1 | START | 2100
CHP: Steam.Turbine.SupCr.COH.CCSoxy.PUB | PUSCSCOH3 | START | 2100
CHP: Steam.Turbine.SupCr.COL.CCSpoc.PUB | PUSCSCOL1 | START | 2100
CHP: Steam.Turbine.SupCr.COL.CCSoxy.PUB | PUSCSCOL3 | START | 2100

## LCEO techs
LCEO Technology Group 1 | LCEO CCUS | DataProvided | Process | Process Description | Technology_sector | Main_Activity | Fossil_RES | Technology_subtype | Technology_main_input | Unit - capacity | Unit - activity | Primary Resources
Advanced alternative fuels | CCUS | NO | S_CCUS_ATM | Supply convert Atmospheric CO2 to Diesel | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_ATM_LowAF | Supply convert Atmospheric CO2 to Diesel | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_ATM_MeOH | Supply convert Atmospheric CO2 to Methanol | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_ATM_MeOH_LowAF | Supply convert Atmospheric CO2 to Methanol LowAF | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_EMIS | Supply convert CCS emission to Diesel | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_EMIS_H2T | CO2 Hydrogenation to Diesel with centralized tank | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_EMIS_H2T_LowAF | CO2 Hydrogenation to Diesel with centralized tank | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_EMIS_H2U | CO2 Hydrogenation to Diesel with underground storage | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_EMIS_H2U_LowAF | CO2 Hydrogenation to Diesel with underground storage | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_EMIS_LowAF | Supply convert CCS emission to Diesel | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_EMISMeOH | Supply convert CCS emission to Methanol | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_EMISMeOH_H2 | Supply convert CCS emission to Methanol supplied by H2 | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_EMISMeOH_H2_LowAF | Supply convert CCS emission to Methanol supplied by H2 LowAF | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_EMISMeOH_LowAF | Supply convert CCS emission to Methanol LowAF | Supply and transformation | Power to liquid |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_P2GT | Methanation - Centralized Tank storage | Supply and transformation | Power to gas |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_P2GT_LowAF | Methanation - Centralized Tank storage | Supply and transformation | Power to gas |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_P2GU | Methanation - Centralized Underground storage | Supply and transformation | Power to gas |  |  | Electricity | GW | PJ
Advanced alternative fuels | CCUS | NO | S_CCUS_P2GU_LowAF | Methanation - Centralized Underground storage | Supply and transformation | Power to gas |  |  | Electricity | GW | PJ
Geothermal | non-CCUS | YES | C_ES-SH-HO_GEO | Non Residential boiler for sp heat - Hospital : Geothermal Energy (COM) | Buildings - Commercial | Heating |  |  | Geothermal | GW | PJ
Geothermal | non-CCUS | YES | C_ES-SH-HR_GEO | Non Residential boiler for sp heat - Hotels & Restaurant : Geothermal Energy (COM) | Buildings - Commercial | Heating |  |  | Geothermal | GW | PJ
Geothermal | non-CCUS | YES | C_ES-SH-OF_GEO | Non Residential boiler for sp heat - Offices (Offices, Schools/Universities, Museums etc) : Geothermal Energy (COM) | Buildings - Commercial | Heating |  |  | Geothermal | GW | PJ
Geothermal | non-CCUS | YES | C_ES-SH-SL_GEO | Non Residential boiler for sp heat - Shop – Large (shopping malls) : Geothermal Energy (COM) | Buildings - Commercial | Heating |  |  | Geothermal | GW | PJ
Geothermal | non-CCUS | YES | C_ES-SH-SR_GEO | Non Residential boiler for sp heat - Sport and Recreation : Geothermal Energy (COM) | Buildings - Commercial | Heating |  |  | Geothermal | GW | PJ
Geothermal | non-CCUS | YES | C_ES-SH-SS_GEO | Non Residential boiler for sp heat - Shop – Small (shops) : Geothermal Energy (COM) | Buildings - Commercial | Heating |  |  | Geothermal | GW | PJ
Geothermal | non-CCUS | YES | C_ES-WH-HO_GEO01 | Geo Heat Exchanger water heater - Hospital | Buildings - Commercial | Hot water |  |  | Geothermal | GW | PJ
Geothermal | non-CCUS | YES | C_ES-WH-HR_GEO01 | Geo Heat Exchanger water heater - Hotels & Restaurant | Buildings - Commercial | Hot water |  |  | Gas (possibly blended) | GW | PJ
Geothermal | non-CCUS | YES | C_ES-WH-OF_GEO01 | Geo Heat Exchanger water heater - Offices (Offices, Schools/Universities, Museums etc) | Buildings - Commercial | Hot water |  |  | Gas (possibly blended) | GW | PJ
Geothermal | non-CCUS | YES | C_ES-WH-SL_GEO01 | Geo Heat Exchanger water heater - Shop – Large (shopping malls) | Buildings - Commercial | Hot water |  |  | Gas (possibly blended) | GW | PJ
Geothermal | non-CCUS | YES | C_ES-WH-SR_GEO01 | Geo Heat Exchanger water heater - Sport and Recreation | Buildings - Commercial | Hot water |  |  | Gas (possibly blended) | GW | PJ
Geothermal | non-CCUS | YES | C_ES-WH-SS_GEO01 | Geo Heat Exchanger water heater - Shop – Small (shops) | Buildings - Commercial | Hot water |  |  | Gas (possibly blended) | GW | PJ
Geothermal | non-CCUS | YES | EEPP_geothermal | Existing Electricity plant - geothermal | Power sector | Electricity generation |  |  | Geothermal | GW | PJ
Geothermal | non-CCUS | YES | EUGEOEGS01 | Geothermal EGS with ORC | Power sector | Electricity generation |  |  | Geothermal | GW | PJ
Geothermal | non-CCUS | YES | EUGEOF01 | Geothermal hydrothermal with flash power plants | Power sector | Electricity generation |  |  | Geothermal | GW | PJ
Geothermal | non-CCUS | YES | EUGEOORC01 | Geothermal hydrothermal with ORC | Power sector | Electricity generation |  |  | Geothermal | GW | PJ
Geothermal | non-CCUS | YES | HHTHGEO001 | District Heating. Heat.GEO. New | Buildings - Residential | Heat generation |  | District heating | Coal | GW | PJ
Geothermal | non-CCUS | YES | R_ES-SH-DH_GEO | Residential boiler for sp heat - Detached house 1945 to 1969 : Geothermal Energy | Buildings - Residential | Heating |  |  | Geothermal | 000units | PJ
Geothermal | non-CCUS | YES | R_ES-SH-DH-70_GEO | Residential boiler for sp heat - Detached house 1970 to 2010 : Geothermal Energy | Buildings - Residential | Heating |  |  | Geothermal | 000units | PJ
Geothermal | non-CCUS | YES | R_ES-SH-FL_GEO | Residential boiler for sp heat - Flat : Geothermal Energy | Buildings - Residential | Heating |  |  | Geothermal | 000units | PJ
Geothermal | non-CCUS | YES | R_ES-SH-SD_GEO | Residential boiler for sp heat - Semi-detached house : Geothermal Energy | Buildings - Residential | Heating |  |  | Geothermal | 000units | PJ
Geothermal | non-CCUS | YES | R_ES-WH-DH_GEO01 | Geo Heat Exchanger water heater - Detached | Buildings - Residential | Hot water |  |  | Geothermal | GW | PJ
Geothermal | non-CCUS | YES | R_ES-WH-FL_GEO01 | Geo Heat Exchanger water heater - Flat | Buildings - Residential | Hot water |  |  | Geothermal | GW | PJ
Geothermal | non-CCUS | YES | R_ES-WH-SD_GEO01 | Geo Heat Exchanger water heater - Semi-Detached | Buildings - Residential | Hot water |  |  | Geothermal | GW | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | AGRGASH2C01 | Fuel Tech - H2 Delivery from centralized production to blending (COMP+USTOR+TR+BLENDING+(nocosNATGASINF))-AGR | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | COMGASH2C01 | Fuel Tech - H2 Delivery from centralized production to blending (COMP+USTOR+TR+BLENDING+(nocosNATGASINF))-COM | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | ELCGASH2C01 | Fuel Tech - H2 Delivery from centralized production to blending (COMP+USTOR+TR+BLENDING+(nocosNATGASINF))-ELC | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | INDGASH2C01 | Fuel Tech - H2 Delivery from centralized production to blending (COMP+USTOR+TR+BLENDING+(nocosNATGASINF))-IND | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | INDGH2C01 | Fuel Tech - H2 Delivery from centralized production (COMP+TR+DP - Industrial) | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | RSDGASH2C01 | Fuel Tech - H2 Delivery from centralized production to blending (COMP+USTOR+TR+BLENDING+(nocosNATGASINF))-RSD | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | RSDGH2C01 | Fuel Tech - H2 Delivery from centralized production (COMP+TR+DP - Residential) | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | RSDGH2C02 | Fuel Tech - H2 Delivery from centralized production (COMP+USTOR+TR+DP - Residential) | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | RSDGH2D01 | Fuel Tech - H2 Delivery from local production (LOCGSTORB+DP - Residential) | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | TRAGASH2C01 | Fuel Tech - H2 Delivery from centralized production to blending (COMP+USTOR+TR+BLENDING+(nocosNATGASINF))-TRA | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | TRAGH2C01 | Fuel Tech - H2 Delivery from centralized production (COMP+USTOR+TR+LIQ+LSTORB+RTS+REFLG(large)) | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | TRAGH2C02 | Fuel Tech - H2 Delivery from centralized production (COMP+TR+LIQ+LSTORB+RTS+REFLG(large)) | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | TRAGH2C03 | Fuel Tech - H2 Delivery from centralized production (COMP+TR+DP+REFGG(large)) | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | TRAGH2C04 | Fuel Tech - H2 Delivery from centralized production (COMP+USTOR+TR+GSTORB+RTS+REFGG (small)) | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | TRAGH2C05 | Fuel Tech - H2 Delivery from centralized production (COMP+USTOR+TR+DP+REFGG(large)) | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | TRAGH2D01 | Fuel Tech - H2 Delivery from local production (LOCGSTORB + REFGG (small)) | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | TRALH2C01 | Fuel Tech - H2 Delivery from centralized production (COMP+USTOR+TR+LIQ+LSTORB+RTS+REFLL(large)) | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | TRALH2C02 | Fuel Tech - H2 Delivery from centralized production (COMP+TR+LIQ+LSTORB+RTS+REFLL(large)) | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - DELIV | non-CCUS | YES | TRALH2D01 | Fuel Tech - H2 Delivery from local production (LOCGSTORB+ONSITELIQ+REFLL (large)) | Supply and transformation | Transport and distribution |  | Fuel transport | Hydrogen | PJ-a | PJ
H2 and fuel cells - PROD | CCUS | YES | SCOAH2GCC01 | H2 Production-Coal Gasification + Carbon Capture, big size, centralized | Supply and transformation | Hydrogen generation |  |  | Coal | GW | PJ
H2 and fuel cells - PROD | CCUS | YES | SCOAH2GCC02 | H2 Production-Coal Gasification + Carbon Capture, medium size, centralized | Supply and transformation | Hydrogen generation |  |  | Coal | GW | PJ
H2 and fuel cells - PROD | CCUS | YES | SGASH2RCC01 | H2 Production-Methane Steam Reforming + Carbon Capture, large size, centralized | Supply and transformation | Hydrogen generation |  |  | Gas (possibly blended) | GW | PJ
H2 and fuel cells - PROD | CCUS | YES | SGASH2RCC02 | H2 Production-Methane Steam Reforming + Carbon Capture, small size, centralized | Supply and transformation | Hydrogen generation |  |  | Gas (possibly blended) | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | ENUCH2EC01 | H2 Production-Very High Temperature Reactor CHP, centralized | Power sector | Hydrogen generation |  |  | Nuclear | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | HHTHH2001 | District Heating. Heat.Hydrogen. New | Buildings - Residential | Heat generation |  | District heating | Hydrogen | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SBIOH2GC01 | H2 Production-Biomass Gasification, medium size, centralized | Supply and transformation | Hydrogen generation |  | Gasification | Other biomass | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SBIOH2GCC01 | H2 Production-Biomass Gasification + Carbon Capture, medium size, centralized | Supply and transformation | Hydrogen generation |  | Gasification - CCS | Other biomass | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SBIOH2GD01 | H2 Production-Biomass Gasification, small size, decentralized | Supply and transformation | Hydrogen generation |  | Gasification | Other biomass | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SBIOH2RC01 | H2 Production-Biomass Steam Reforming, centralized | Supply and transformation | Hydrogen generation |  | Steam reforming | Other biomass | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SCOAH2GC01 | H2 Production-Coal Gasification, large size, centralized | Supply and transformation | Hydrogen generation |  |  | Coal | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SCOAH2GC02 | H2 Production-Coal Gasification, medium size, centralized | Supply and transformation | Hydrogen generation |  |  | Coal | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SELCH2EC01 | H2 Production-Alkaline Electrolyser, large size, centralized | Supply and transformation | Hydrogen generation |  | Electrolysers | Electricity | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SELCH2EC01_LowAF | H2 Production-Alkaline Electrolyser, large size, centralized - Pseudo with LowAF | Supply and transformation | Hydrogen generation |  | Electrolysers | Electricity | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SELCH2EC02 | H2 Production-Alkaline Electrolyser, medium size, centralized | Supply and transformation | Hydrogen generation |  | Electrolysers | Electricity | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SELCH2EC02_LowAF | H2 Production-Alkaline Electrolyser, medium size, centralized - Pseudo with LowAF | Supply and transformation | Hydrogen generation |  | Electrolysers | Electricity | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SELCH2ED01 | H2 Production-Alkaline Electrolyser, small size, decentralized | Supply and transformation | Hydrogen generation |  | Electrolysers | Electricity | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SELCH2ED01_LowAF | H2 Production-Alkaline Electrolyser, small size, decentralized - Pseudo with LowAF | Supply and transformation | Hydrogen generation |  | Electrolysers | Electricity | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SELCH2PEM01 | PEM Electrolyzer - Proton Exchange Membrane - Start 2015 | Supply and transformation | Hydrogen generation |  | Electrolysers | Electricity | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SELCH2PEM01_LowAF | PEM Electrolyzer - Proton Exchange Membrane - Pseudo with LowAF | Supply and transformation | Hydrogen generation |  | Electrolysers | Electricity | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SETHH2RD01 | H2 Production-Ethanol Steam Reforming, decentralized | Supply and transformation | Hydrogen generation |  | Steam reforming | Biofuel | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SGASH2KC01 | H2 Production-Kvaerner Process, centralized | Supply and transformation | Hydrogen generation |  |  | Gas (possibly blended) | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SGASH2RC01 | H2 Production-Methane Steam Reforming, large size, centralized | Supply and transformation | Hydrogen generation |  |  | Gas (possibly blended) | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SGASH2RC02 | H2 Production-Methane Steam Reforming, small size, centralized | Supply and transformation | Hydrogen generation |  |  | Gas (possibly blended) | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SGASH2RD01 | H2 Production-Methane Steam Reforming, medium size, decentralized | Supply and transformation | Hydrogen generation |  |  | Gas (possibly blended) | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SGASH2RD02 | H2 Production-Methane Steam Reforming, small size, decentralized | Supply and transformation | Hydrogen generation |  |  | Gas (possibly blended) | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SGASSH2RC01 | H2 Production-Solar Steam Reforming of Methane, centralized | Supply and transformation | Hydrogen generation |  |  | Gas (possibly blended) | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SGASSH2RD01 | H2 Production-Solar Steam Reforming of Methane, decentralized | Supply and transformation | Hydrogen generation |  |  | Gas (possibly blended) | GW | PJ
H2 and fuel cells - PROD | non-CCUS | YES | SHFOH2POC01 | H2 Production-Central PO of Heavy Oil (CPO3) | Supply and transformation | Hydrogen generation |  |  | Petroleum (possibly blended) | GW | PJ
H2 and fuel cells - related | non-CCUS | YES | C_ES-SP-HO_GASPEM | Fuel cell - PEMFC - for heat and power - Hospital | Buildings - Commercial | CHP |  | Fuel Cell | Gas (possibly blended) | GW | PJ
H2 and fuel cells - related | non-CCUS | YES | C_ES-SP-HO_GASSOFC | Fuel cell - SOFC - for heat and power - Hospital | Buildings - Commercial | CHP |  | Fuel Cell | Gas (possibly blended) | GW | PJ
H2 and fuel cells - related | non-CCUS | YES | C_ES-SP-HR_GASPEM | Fuel cell - PEMFC - for heat and power - Hotels & Restaurant | Buildings - Commercial | CHP |  | Fuel Cell | Gas (possibly blended) | GW | PJ
H2 and fuel cells - related | non-CCUS | YES | C_ES-SP-HR_GASSOFC | Fuel cell - SOFC - for heat and power - Hotels & Restaurant | Buildings - Commercial | CHP |  | Fuel Cell | Gas (possibly blended) | GW | PJ
H2 and fuel cells - related | non-CCUS | YES | C_ES-SP-OF_GASPEM | Fuel cell - PEMFC - for heat and power - Offices (Offices, Schools/Universities, Museums etc) | Buildings - Commercial | CHP |  | Fuel Cell | Gas (possibly blended) | GW | PJ
H2 and fuel cells - related | non-CCUS | YES | C_ES-SP-OF_GASSOFC | Fuel cell - SOFC - for heat and power - Offices (Offices, Schools/Universities, Museums etc) | Buildings - Commercial | CHP |  | Fuel Cell | Gas (possibly blended) | GW | PJ
H2 and fuel cells - related | non-CCUS | YES | C_ES-SP-SL_GASPEM | Fuel cell - PEMFC - for heat and power - Shop – Large (shopping malls) | Buildings - Commercial | CHP |  | Fuel Cell | Gas (possibly blended) | GW | PJ
H2 and fuel cells - related | non-CCUS | YES | C_ES-SP-SL_GASSOFC | Fuel cell - SOFC - for heat and power - Shop – Large (shopping malls) | Buildings - Commercial | CHP |  | Fuel Cell | Gas (possibly blended) | GW | PJ
H2 and fuel cells - related | non-CCUS | YES | C_ES-SP-SR_GASPEM | Fuel cell - PEMFC - for heat and power - Sport and Recreation | Buildings - Commercial | CHP |  | Fuel Cell | Gas (possibly blended) | GW | PJ
H2 and fuel cells - related | non-CCUS | YES | C_ES-SP-SR_GASSOFC | Fuel cell - SOFC - for heat and power - Sport and Recreation | Buildings - Commercial | CHP |  | Fuel Cell | Gas (possibly blended) | GW | PJ
H2 and fuel cells - related | non-CCUS | YES | C_ES-SP-SS_GASPEM | Fuel cell - PEMFC - for heat and power - Shop – Small (shops) | Buildings - Commercial | CHP |  | Fuel Cell | Gas (possibly blended) | GW | PJ
H2 and fuel cells - related | non-CCUS | YES | C_ES-SP-SS_GASSOFC | Fuel cell - SOFC - for heat and power - Shop – Small (shops) | Buildings - Commercial | CHP |  | Fuel Cell | Gas (possibly blended) | GW | PJ
H2 and fuel cells - related | non-CCUS | YES | R_ES-CHP-DH_GAS04 | CHP fuel cells – Natural Gas fuel cell (DH) | Buildings - Residential | Heating |  | Fuel Cell | Gas (possibly blended) | 000units | PJ
H2 and fuel cells - related | non-CCUS | YES | R_ES-CHP-DH-70_GAS04 | CHP fuel cells – Natural Gas fuel cell (DH-70) | Buildings - Residential | Heating |  | Fuel Cell | Gas (possibly blended) | 000units | PJ
H2 and fuel cells - related | non-CCUS | YES | R_ES-CHP-FL_GAS04 | CHP fuel cells – Natural Gas fuel cell (FL) | Buildings - Residential | Heating |  | Fuel Cell | Gas (possibly blended) | 000units | PJ
H2 and fuel cells - related | non-CCUS | YES | R_ES-CHP-SD_GAS04 | CHP fuel cells – Natural Gas fuel cell (SD) | Buildings - Residential | Heating |  | Fuel Cell | Gas (possibly blended) | 000units | PJ
H2 and Fuel cells - STOR | non-CCUS | YES | P_STH2SDT | Dummy tech STH2SDT | Supply and transformation | Storage of hydrogen |  |  |  | PJ-a | PJ
H2 and Fuel cells - STOR | non-CCUS | YES | P_STH2SGT | Dummy tech STH2SGT | Supply and transformation | Storage of hydrogen |  |  |  | PJ-a | PJ
H2 and Fuel cells - STOR | non-CCUS | YES | P_STH2SUG | Dummy tech STH2SUG | Supply and transformation | Storage of hydrogen |  |  |  | PJ-a | PJ
H2 and fuel cells - STOR | non-CCUS | YES | STH2SDT | Distributed Hydrogen Gas Tank Storage: DayNite/Seasonal | Supply and transformation | Storage of hydrogen |  |  |  | PJ-a | PJ
H2 and fuel cells - STOR | non-CCUS | YES | STH2SGT | Centralised Hydrogen Gas Tank Storage: DayNite/Seasonal | Supply and transformation | Storage of hydrogen |  |  |  | PJ-a | PJ
H2 and fuel cells - STOR | non-CCUS | YES | STH2SUG | Centralised Hydrogen Underground Storage: DayNite/Seasonal | Supply and transformation | Storage of hydrogen |  |  |  | PJ-a | PJ
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_AT_DE_01 | IRE(B)-SYNH2CU Trade with DE | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_AT_HU_01 | IRE(B)-SYNH2CU Trade with HU | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_AT_IT_01 | IRE(B)-SYNH2CU Trade with IT | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_AT_SI_01 | IRE(B)-SYNH2CU Trade with SI | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_AT_SK_01 | IRE(B)-SYNH2CU Trade with SK | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_BE_DE_01 | IRE(B)-SYNH2CU Trade with DE | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_BE_FR_01 | IRE(B)-SYNH2CU Trade with FR | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_BE_LU_01 | IRE(B)-SYNH2CU Trade with LU | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_BE_NL_01 | IRE(B)-SYNH2CU Trade with NL | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_BE_UK_01 | IRE(B)-SYNH2CU Trade with UK | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_BG_EL_01 | IRE(B)-SYNH2CU Trade with EL | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_CZ_DE_01 | IRE(B)-SYNH2CU Trade with DE | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_CZ_SK_01 | IRE(B)-SYNH2CU Trade with SK | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_DE_CH_01 | IRE(B)-SYNH2CU Trade with DE | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_DE_FR_01 | IRE(B)-SYNH2CU Trade with FR | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_DE_LU_01 | IRE(B)-SYNH2CU Trade with LU | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_DE_NL_01 | IRE(B)-SYNH2CU Trade with NL | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_DE_PL_01 | IRE(B)-SYNH2CU Trade with PL | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_DK_DE_01 | IRE(B)-SYNH2CU Trade with DK | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_DK_NL_01 | IRE(B)-SYNH2CU Trade with NL | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_DK_SE_01 | IRE(B)-SYNH2CU Trade with SE | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_FR_CH_01 | IRE(B)-SYNH2CU Trade with FR | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_FR_ES_01 | IRE(B)-SYNH2CU Trade with FR | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_HR_IT_01 | IRE(B)-SYNH2CU Trade with IT | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_HU_HR_01 | IRE(B)-SYNH2CU Trade with HU | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_HU_RO_01 | IRE(B)-SYNH2CU Trade with RO | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_IE_UK_01 | IRE(B)-SYNH2CU Trade with UK | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_IT_CH_01 | IRE(B)-SYNH2CU Trade with IT | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_IT_SI_01 | IRE(B)-SYNH2CU Trade with SI | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_IT_SK_01 | IRE(B)-SYNH2CU Trade with SK | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_LV_EE_01 | IRE(B)-SYNH2CU Trade with LV | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_LV_LT_01 | IRE(B)-SYNH2CU Trade with LV | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_NL_UK_01 | IRE(B)-SYNH2CU Trade with UK | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_NO_BE_01 | IRE(B)-SYNH2CU Trade with NO | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_NO_DE_01 | IRE(B)-SYNH2CU Trade with NO | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_NO_FR_01 | IRE(B)-SYNH2CU Trade with NO | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_NO_NL_01 | IRE(B)-SYNH2CU Trade with NO | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_NO_UK_01 | IRE(B)-SYNH2CU Trade with UK | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_PT_ES_01 | IRE(B)-SYNH2CU Trade with PT | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_RO_BG_01 | IRE(B)-SYNH2CU Trade with RO | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_SI_HR_01 | IRE(B)-SYNH2CU Trade with SI | Supply and transformation | Trade |  |  |  |  | PJ | 1
H2 and fuel cells - TRADE | non-CCUS | YES | TB_SYNH2CU_SI_HU_01 | IRE(B)-SYNH2CU Trade with SI | Supply and transformation | Trade |  |  |  |  | PJ | 1
Heat and power from biomass | CCUS | YES | EUIGCCWOOCCS01 | Biomass Integrated Gasification CC + CCS Seq post combustion | Power sector | Electricity generation |  |  | Biomass | GW | PJ
Heat and power from biomass | CCUS | YES | EUSTWOOCCS01 | Fluidized Bed Biomass + CCS Seq post combustion | Power sector | Electricity generation |  |  | Other biomass | GW | PJ
Heat and power from biomass | CCUS - related | YES | PUOWOO | CHP: Organic.Ranking CYC.WOO.PUB | Power sector | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | CCUS - related | YES | PUSMUN | CHP: Steam.Turbine.MUN.PUB | Power sector | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | CCUS - related | YES | PUSWOO1 | CHP: Steam.Turbine.WOO.PUB | Power sector | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | CCUS - related | YES | PUSWOO2 | CHP: Steam.Turbine2.WOO.PUB | Power sector | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-CK-HO_BIO | Non Residential tech for cooking - Hospital : Biomass and wastes (COM) | Buildings - Commercial | Cooking |  |  | Biomass | Mm2-y | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-CK-HR_BIO | Non Residential tech for cooking - Hotels & Restaurant : Biomass and wastes (COM) | Buildings - Commercial | Cooking |  |  | Biomass | Mm2-y | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-CK-OF_BIO | Non Residential tech for cooking - Offices (Offices, Schools/Universities, Museums etc) : Biomass and wastes (COM) | Buildings - Commercial | Cooking |  |  | Biomass | Mm2-y | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-CK-SL_BIO | Non Residential tech for cooking - Shop – Large (shopping malls) : Biomass and wastes (COM) | Buildings - Commercial | Cooking |  |  | Biomass | Mm2-y | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-CK-SR_BIO | Non Residential tech for cooking - Sport and Recreation : Biomass and wastes (COM) | Buildings - Commercial | Cooking |  |  | Biomass | Mm2-y | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-CK-SS_BIO | Non Residential tech for cooking - Shop – Small (shops) : Biomass and wastes (COM) | Buildings - Commercial | Cooking |  |  | Biomass | Mm2-y | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-SH-HO_BIO | Non Residential boiler for sp heat - Hospital : Biomass and wastes (COM) | Buildings - Commercial | Heating |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-SH-HO_BIO01 | Wood-pellets boiler.HeatHotwater - Hospital | Buildings - Commercial | Heating |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-SH-HR_BIO | Non Residential boiler for sp heat - Hotels & Restaurant : Biomass and wastes (COM) | Buildings - Commercial | Heating |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-SH-HR_BIO01 | Wood-pellets boiler.HeatHotwater - Hotels & Restaurant | Buildings - Commercial | Heating |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-SH-OF_BIO | Non Residential boiler for sp heat - Offices (Offices, Schools/Universities, Museums etc) : Biomass and wastes (COM) | Buildings - Commercial | Heating |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-SH-OF_BIO01 | Wood-pellets boiler.HeatHotwater - Offices (Offices, Schools/Universities, Museums etc) | Buildings - Commercial | Heating |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-SH-SL_BIO | Non Residential boiler for sp heat - Shop – Large (shopping malls) : Biomass and wastes (COM) | Buildings - Commercial | Heating |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-SH-SL_BIO01 | Wood-pellets boiler.HeatHotwater - Shop – Large (shopping malls) | Buildings - Commercial | Heating |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-SH-SR_BIO | Non Residential boiler for sp heat - Sport and Recreation : Biomass and wastes (COM) | Buildings - Commercial | Heating |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-SH-SR_BIO01 | Wood-pellets boiler.HeatHotwater - Sport and Recreation | Buildings - Commercial | Heating |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-SH-SS_BIO | Non Residential boiler for sp heat - Shop – Small (shops) : Biomass and wastes (COM) | Buildings - Commercial | Heating |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-SH-SS_BIO01 | Wood-pellets boiler.HeatHotwater - Shop – Small (shops) | Buildings - Commercial | Heating |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-WH-HO_BIO | Non Residential boiler for water heat - Hospital : Biomass and wastes (COM) | Buildings - Commercial | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-WH-HO_BIO01 | Wood pellets boiler water heater - Hospital | Buildings - Commercial | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-WH-HR_BIO | Non Residential boiler for water heat - Hotels & Restaurant : Biomass and wastes (COM) | Buildings - Commercial | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-WH-HR_BIO01 | Wood pellets boiler water heater - Hotels & Restaurant | Buildings - Commercial | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-WH-OF_BIO | Non Residential boiler for water heat - Offices (Offices, Schools/Universities, Museums etc) : Biomass and wastes (COM) | Buildings - Commercial | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-WH-OF_BIO01 | Wood pellets boiler water heater - Offices (Offices, Schools/Universities, Museums etc) | Buildings - Commercial | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-WH-SL_BIO | Non Residential boiler for water heat - Shop – Large (shopping malls) : Biomass and wastes (COM) | Buildings - Commercial | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-WH-SL_BIO01 | Wood pellets boiler water heater - Shop – Large (shopping malls) | Buildings - Commercial | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-WH-SR_BIO | Non Residential boiler for water heat - Sport and Recreation : Biomass and wastes (COM) | Buildings - Commercial | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-WH-SR_BIO01 | Wood pellets boiler water heater - Sport and Recreation | Buildings - Commercial | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-WH-SS_BIO | Non Residential boiler for water heat - Shop – Small (shops) : Biomass and wastes (COM) | Buildings - Commercial | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | C_ES-WH-SS_BIO01 | Wood pellets boiler water heater - Shop – Small (shops) | Buildings - Commercial | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | CHPAUTOGENBLQ00 | CHP.Autoproducer.Black Liquor.00 | Industry - Other | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | CHPAUTOGENWASTE00 | CHP.Autoproducer.Waste.00 | Industry - Other | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | CHPINDIGWOO101 | CHP: IGCC.WOO.IND | Industry - Other | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | CHPINDSMUN201 | CHP: Steam Turb condensing.MUN.IND | Industry - Other | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | CHPINDSPWOO101 | CHP: Steam Turb condensing.WOO.IND | Industry - Other | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | CHPINDSSLU101 | CHP: Steam Turb condensing.MUNSLU.IND | Industry - Other | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | CHPIPIGBLQ01 | CHP: IGCC Large.Black Liquor.Pulp&Paper Heat | Industry - Other | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | CHPIPREBLQ01 | CHP: Recovery Boiler Large.Black Liquor.Pulp&Paper Heat | Industry - Other | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | EAUTOGENBIO00 | EAUT.Electricity Autoproduction.BIO.00 | Industry - Other | Electricity generation |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | EAUTOGENWASTE00 | EAUT.Electricity Autoproduction.Waste.00 | Industry - Other | Electricity generation |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | ECHP_biomass_thermal | Existing CHP plant - biomass_thermal | Power sector | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | EEPP_biomass_CCGT | Existing Electricity plant - biomass_CCGT | Power sector | Electricity generation |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | EEPP_biomass_thermal | Existing Electricity plant - biomass_thermal | Power sector | Electricity generation |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | EUICBGS01 | Biomass Anaerobic Digestion | Power sector | Electricity generation |  |  | Biogas | GW | PJ
Heat and power from biomass | non-CCUS | YES | EUIGCCWOO01 | Biomass Integrated Gasification Combined Cycle | Power sector | Electricity generation |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | EUSTWOO01 | Fluidized Bed Boiler Biomass + steam turbine | Power sector | Electricity generation |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | HHTHBIO001 | District Heating. Heat.BIO. New | Buildings - Residential | Heat generation |  | District heating | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | ICHMCHBIO00 | ICH.Other Chemicals.Machine Drive.BIO.00 | Industry - Chemical | Driven systems |  |  | Other biomass | PJ-a | PJ
Heat and power from biomass | non-CCUS | YES | ICHPRCBIO00 | ICH.Other Chemicals.Process Heat.BIO.00 | Industry - Chemical | Process heat |  |  | Other biomass | PJ-a | PJ
Heat and power from biomass | non-CCUS | YES | ICHPRCBIO01 | ICH. Other Chemicals.Process heat.BIO.01 | Industry - Chemical | Process heat |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | ICHSTMBIO00 | ICH.Other Chemicals.Steam.BIO.00 | Industry - Chemical | Heat |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | ICHSTMBIO01 | ICH. Other Chemicals.Steam.BIO.01 | Industry - Chemical | Heat |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | IISSINTERBIO | IIS.Sinter Production.BIO | Industry - Steel | Process heat |  |  | Other biomass | Mta | Mt
Heat and power from biomass | non-CCUS | YES | INDIPPBIOHTH06 | Generic industrial BIO boiler for pulp and paper sector | Industry - Other | Heat generation |  | Burners boilers and furnaces | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | INDIPPBLQHTH06 | Generic industrial BLQ boiler for pulp and paper sector | Industry - Other | Heat generation |  | Burners boilers and furnaces | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | INFMCHBIO00 | INF.Other Non Ferrous Metals.Machine Drive.BIO.00 | Industry - Other | Driven systems |  |  | Other biomass | PJ-a | PJ
Heat and power from biomass | non-CCUS | YES | INFPRCBIO00 | INF.Other Non Ferrous Metals.Process Heat.BIO.00 | Industry - Other | Process heat |  |  | Other biomass | PJ-a | PJ
Heat and power from biomass | non-CCUS | YES | INFPRCBIO01 | INF. Other Non Ferrous Metals.Process heat.BIO.01 | Industry - Other | Process heat |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | INFSTMBIO00 | INF.Other Non Ferrous Metals.Steam.BIO.00 | Industry - Other | Heat generation |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | INFSTMBIO01 | INF. Other Non Ferrous Metals.Steam.BIO.01 | Industry - Other | Heat generation |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | INMMCHBIO00 | INM.Other Non Metallic Minerals.Machine Drive.BIO.00 | Industry - Mineral | Driven systems |  |  | Other biomass | PJ-a | PJ
Heat and power from biomass | non-CCUS | YES | INMPRCBIO00 | INM.Other Non Metallic Minerals.Process Heat.BIO.00 | Industry - Mineral | Process heat |  |  | Other biomass | PJ-a | PJ
Heat and power from biomass | non-CCUS | YES | INMPRCBIO01 | INM. Other Non Metallic Minerals.Process heat.BIO.01 | Industry - Mineral | Process heat |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | INMSTMBIO00 | INM.Other Non Metallic Minerals.Steam.BIO.00 | Industry - Mineral | Heat |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | INMSTMBIO01 | INM. Other Non Metallic Minerals.Steam.BIO.01 | Industry - Mineral | Heat |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | IOIMCHBIO00 | IOI.Other Industries.Machine Drive.BIO.00 | Industry - Other | Driven systems |  |  | Other biomass | PJ-a | PJ
Heat and power from biomass | non-CCUS | YES | IOIPRCBIO00 | IOI.Other Industries.Process Heat.BIO.00 | Industry - Other | Process heat |  |  | Other biomass | PJ-a | PJ
Heat and power from biomass | non-CCUS | YES | IOIPRCBIO01 | IOI. Other Industries.Process heat.BIO.01 | Industry - Other | Process heat |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | IOISTMBIO00 | IOI.Other Industries.Steam.BIO.00 | Industry - Other | Heat |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | IOISTMBIO01 | IOI. Other Industries.Steam.BIO.01 | Industry - Other | Heat |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | IPPPRCBIO00 | IPP.Generic fuel kiln.BIO | Industry - Other | Process heat |  |  | Other biomass | PJ-a | PJ
Heat and power from biomass | non-CCUS | YES | IPPPRCBIO01 | IPP. Pulp and Paper.Process heat.BIO.01 | Industry - Other | Process heat |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | PUASLU | CHP: Anaerobic digestion.SLU.PUB | Power sector | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | PUGWOO | CHP: Biomass.gasification.WOO.PUB | Power sector | CHP |  |  | Other biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | PUICBGS | CHP: Int Combust.BGS.PUB | Power sector | CHP |  |  | Biogas | GW | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-CK-DH_BIO | Residential boiler for cooking - Detached house : Biomass and wastes | Buildings - Residential | Cooking |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-CK-FL_BIO | Residential boiler for cooking - Flat : Biomass and wastes | Buildings - Residential | Cooking |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-CK-SD_BIO | Residential boiler for cooking - Semi-detached house : Biomass and wastes | Buildings - Residential | Cooking |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-DH_BIO | Residential boiler for sp heat - Detached house 1945 to 1969 : Biomass and wastes | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-DH_BIO01 | Biomass boiler_SH-WH (DH) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-DH_ELC02-BIOspl | Backup for Heat Pump Air-to-Air - Biomass boiler_SH-WH (DH) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-DH_GAS02-BIOspl | Backup for Gas boiler - Wood stove_SH (DH) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-DH_OIL02-BIOspl | Backup for Oil boiler - Wood stove_SH (DH) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-DH-70_BIO | Residential boiler for sp heat - Detached house 1970 to 2010 : Biomass and wastes | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-DH-70_BIO01 | Biomass boiler_SH-WH (DH-70) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-DH-70_ELC02-BIOspl | Backup for Heat Pump Air-to-Air - Biomass boiler_SH-WH (DH-70) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-DH-70_GAS02-BIOspl | Backup for Gas boiler - Wood stove_SH (DH-70) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-DH-70_OIL02-BIOspl | Backup for Oil boiler - Wood stove_SH (DH-70) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-FL_BIO | Residential boiler for sp heat - Flat : Biomass and wastes | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-FL_BIO01 | Biomass boiler_SH-WH (FL) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-FL_ELC02-BIOspl | Backup for Heat Pump Air-to-Air - Biomass boiler_SH-WH (FL) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-FL_OIL02-BIOspl | Backup for Oil boiler - Wood stove_SH (FL) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-SD_BIO | Residential boiler for sp heat - Semi-detached house : Biomass and wastes | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-SD_BIO01 | Biomass boiler_SH-WH (SD) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-SD_ELC02-BIOspl | Backup for Heat Pump Air-to-Air - Biomass boiler_SH-WH (SD) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-SD_GAS02-BIOspl | Backup for Gas boiler - Wood stove_SH (SD) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-SH-SD_OIL02-BIOspl | Backup for Oil boiler - Wood stove_SH (SD) | Buildings - Residential | Heating |  |  | Biomass | 000units | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-WH-DH_BIO | Residential boiler for water heat - Detached house : Biomass and wastes | Buildings - Residential | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-WH-DH_BIO01 | Wood pellets boiler water heater - Detached | Buildings - Residential | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-WH-FL_BIO | Residential boiler for water heat - Flat : Biomass and wastes | Buildings - Residential | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-WH-FL_BIO01 | Wood pellets boiler water heater - Flat | Buildings - Residential | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-WH-SD_BIO | Residential boiler for water heat - Semi-detached house : Biomass and wastes | Buildings - Residential | Hot water |  |  | Biomass | GW | PJ
Heat and power from biomass | non-CCUS | YES | R_ES-WH-SD_BIO01 | Wood pellets boiler water heater - Semi-Detached | Buildings - Residential | Hot water |  |  | Biomass | GW | PJ
Hydropower | non-CCUS | YES | ESTHYDPS101 | Pumped Hydro ELC Storage: DayNite | Power sector | Storage of electricity |  | Pumped Hydro | Hydro | PJ-a | PJ
Hydropower | non-CCUS | YES | ESTHYDPS201 | Pumped Hydro ELC Storage: DayNite/Seasonal | Power sector | Storage of electricity |  | Pumped Hydro | Hydro | PJ-a | PJ
Hydropower | non-CCUS | YES | EUHYDDAM00 | Existing Hydro Dams | Power sector | Electricity generation |  |  | Hydro | GW | PJ
Hydropower | non-CCUS | YES | EUHYDLAKELC01 | Lake large scale cheap hydroelectricity > 10 MW | Power sector | Electricity generation |  |  | Hydro | GW | PJ
Hydropower | non-CCUS | YES | EUHYDLAKELE01 | Lake large scale expensive hydroelectricity > 10 MW | Power sector | Electricity generation |  |  | Hydro | GW | PJ
Hydropower | non-CCUS | YES | EUHYDLAKEMC01 | Lake medium scale cheap hydroelectricity 1-10 MW | Power sector | Electricity generation |  |  | Hydro | GW | PJ
Hydropower | non-CCUS | YES | EUHYDLAKEME01 | Lake medium scale expensive hydroelectricity 1-10 MW | Power sector | Electricity generation |  |  | Hydro | GW | PJ
Hydropower | non-CCUS | YES | EUHYDLAKESC01 | Lake very small cheap hydroelectricity <1 MW | Power sector | Electricity generation |  |  | Hydro | GW | PJ
Hydropower | non-CCUS | YES | EUHYDLAKESE01 | Lake very small expensive hydroelectricity <1 MW | Power sector | Electricity generation |  |  | Hydro | GW | PJ
Hydropower | non-CCUS | YES | EUHYDRUN00 | Existing Run-of-river hydro | Power sector | Electricity generation |  | Variable | Hydro | GW | PJ
Hydropower | non-CCUS | YES | EUHYDRUN01 | Run of River hydroelectricity | Power sector | Electricity generation |  | Variable | Hydro | GW | PJ
Hydropower | non-CCUS | YES | P_ESTHYDPS101 | Pumped Hydro ELC Storage: DayNite (accompanying tech to represent power) | Power sector | Storage of electricity |  | Pumped Hydro |  | GW | PJ
Hydropower | non-CCUS | YES | P_ESTHYDPS201 | Pumped Hydro ELC Storage: DayNite/Seasonal (accompanying tech to represent power) | Power sector | Storage of electricity |  | Pumped Hydro |  | GW | PJ
Ocean Energy | non-CCUS | YES | EUOCETID01 | Tidal energy stream | Power sector | Electricity generation |  | Variable | Ocean | GW | PJ
Ocean Energy | non-CCUS | YES | EUOCETID02 | Tidal energy range | Power sector | Electricity generation |  | Variable | Ocean | GW | PJ
Ocean Energy | non-CCUS | YES | EUOCEWAV01 | Wave (nearshore) | Power sector | Electricity generation |  | Variable | Ocean | GW | PJ
Ocean Energy | non-CCUS | YES | EUOCEWAV02 | Wave (offshore) | Power sector | Electricity generation |  | Variable | Ocean | GW | PJ
Other CCS | CCUS | YES | CHPINDCSGAS15 | CHP: Comb CYC condensing CO2Seq.GAS.IND | Industry - Other | CHP |  |  | Gas (possibly blended) | GW | PJ
Other CCS | CCUS | YES | CHPINDISCOA15 | CHP: IGCC CO2Seq.COA.IND | Industry - Other | CHP |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | EUCCGASCCSpos20 | CCGT Combined Cycle Gas Turbine + CCS Seq post combustion | Power sector | Electricity generation |  |  | Gas (possibly blended) | GW | PJ
Other CCS | CCUS | YES | EUIGCOHCCSpre20 | Integrated gasification combined cycle + CCS Seq pre combustion | Power sector | Electricity generation |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | EUIGCOLCCSpre20 | Integrated Gasification Combined Cycle lignite + CCS Seq pre-combustion | Power sector | Electricity generation |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | EUPCCOHCCSoxy20 | Super-critical Pulverised Coal + CCS Seq Oxyfuel | Power sector | Electricity generation |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | EUPCCOHCCSpos20 | Supercritical pulverised coal + CCS Seq post combustion | Power sector | Electricity generation |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | EUPCCOLCCSpos20 | Fluidised bed lignite + CCS Seq post combustion | Power sector | Electricity generation |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | EUSTIISGASCS101 | EPLT: Steam Turbine.CO2Seq.IISGAS | Power sector | Electricity generation |  |  | Gas (possibly blended) | GW | PJ
Other CCS | CCUS | YES | IAMADVCAP00 | IAM.Advanced Production.CO2 Capture.00. | Industry - Chemical | Other industry |  |  |  | Mta | Mt
Other CCS | CCUS | YES | IAMADVCAP10 | IAM.Advanced ProductionCO2 Capture.10. | Industry - Chemical | Other industry |  |  |  | Mta | Mt
Other CCS | CCUS | YES | ICMDRYPRD10 | ICM.Dry Process Production with CO2 capture.10. | Industry - Mineral | Process heat |  |  |  | Mta | Mt
Other CCS | CCUS | YES | IGFFLATGL15 | IGF.Glass Flat heat recovery/improv burners.CCS.15. | Industry - Mineral | Process heat |  |  | Gas (possibly blended) | Mta | Mt
Other CCS | CCUS | YES | IGHHOLLOW15 | IGH.Glass Hollow heat recovery/improv burners.CCS.15. | Industry - Mineral | Process heat |  |  | Gas (possibly blended) | Mta | Mt
Other CCS | CCUS | YES | IGHRECYCL10 | IGH.Glass Recycling improved melting.CCS.10. | Industry - Mineral | Process heat |  |  | Gas (possibly blended) | Mta | Mt
Other CCS | CCUS | YES | IISBLAFURCS20 | IIS.Iron Oxygen Blast Furnace with CCS.20. | Industry - Steel | Process heat |  |  | Coal | Mta | Mt
Other CCS | CCUS | YES | IISBLAFURTGRCS20 | IIS.Iron Oxygen Blast Furnace TGR with CCS.20. | Industry - Steel | Process heat |  |  | Coal | Mta | Mt
Other CCS | CCUS | YES | IISCOREXCS | IIS.COREX with CCS | Industry - Steel | Process heat |  |  |  | Mta | Mt
Other CCS | CCUS | YES | IISDRISPNCS01 | IIS.Iron Sponge Iron for DRI with CCS.01. | Industry - Steel | Process heat |  |  |  | Mta | Mt
Other CCS | CCUS | YES | INDUPSCO2Cap | CO2 capture from large industrial and upstream installations | Industry - Other | Accounting |  |  |  | kt | kt
Other CCS | CCUS | YES | IPPHIGQUA10 | IPP.High Quality Paper Production Adv DrivesCCS.05. | Industry - Other | Process heat |  |  |  | Mta | Mt
Other CCS | CCUS | YES | IPPLOWQUA10 | IPP.Low Quality Paper Production Adv Drives with CCS.10. | Industry - Other | Process heat |  |  |  | Mta | Mt
Other CCS | CCUS | YES | IPPPUPMEC15 | IPP.Mechanical Pulp Production Airless dryingCCS.15. | Industry - Other | Process heat |  |  |  | Mta | Mt
Other CCS | CCUS | YES | PUCCSGAS1 | CHP: Comb CYC.GAS.CCSpoc.PUB | Power sector | CHP |  |  | Gas (possibly blended) | GW | PJ
Other CCS | CCUS | YES | PUCCSGAS2 | CHP: Comb CYC.GAS.CCSprc.PUB | Power sector | CHP |  |  | Gas (possibly blended) | GW | PJ
Other CCS | CCUS | YES | PUCCSGAS3 | CHP: Comb CYC.GAS.CCSoxy.PUB | Power sector | CHP |  |  | Gas (possibly blended) | GW | PJ
Other CCS | CCUS | YES | PUICSCOH1 | CHP: Int Gasification.COH.CCSpoc.PUB | Power sector | CHP |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | PUICSCOH2 | CHP: Int Gasification.COH.CCSprc.PUB | Power sector | CHP |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | PUICSCOH3 | CHP: Int Gasification.COH.CCSoxy.PUB | Power sector | CHP |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | PUICSCOL1 | CHP: Int Gasification.COL.CCSpoc.PUB | Power sector | CHP |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | PUICSCOL2 | CHP: Int Gasification.COL.CCSprc.PUB | Power sector | CHP |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | PUICSCOL3 | CHP: Int Gasification.COL.CCSoxy.PUB | Power sector | CHP |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | PUSCSCOH1 | CHP: Steam.Turbine.SupCr.COH.CCSpoc.PUB | Power sector | CHP |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | PUSCSCOH3 | CHP: Steam.Turbine.SupCr.COH.CCSoxy.PUB | Power sector | CHP |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | PUSCSCOL1 | CHP: Steam.Turbine.SupCr.COL.CCSpoc.PUB | Power sector | CHP |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | PUSCSCOL3 | CHP: Steam.Turbine.SupCr.COL.CCSoxy.PUB | Power sector | CHP |  |  | Coal | GW | PJ
Other CCS | CCUS | YES | SNK_DAC | Direct Air Capture - Chemical Absorption | Supply and transformation | CO2 sink |  |  | CO2 | kt-a | kt
Other CCS | CCUS | YES | SNK_DAC_LowAF | Direct Air Capture - Chemical Absorption | Supply and transformation | CO2 sink |  |  | CO2 | kt-a | kt
Photovoltaics | non-CCUS | YES | EEPP_PV | Existing Electricity plant - PV | Power sector | Electricity generation |  | Variable | Solar | GW | PJ
Photovoltaics | non-CCUS | YES | EUPVSOLHC01 | Solar PV high concentration | Power sector | Electricity generation |  | Variable | Solar | GW | PJ
Photovoltaics | non-CCUS | YES | EUPVSOLL101 | Utility c-Si, flat | Power sector | Electricity generation |  | Variable | Solar | GW | PJ
Photovoltaics | non-CCUS | YES | EUPVSOLL201 | Utility c-Si, tracking | Power sector | Electricity generation |  | Variable | Solar | GW | PJ
Photovoltaics | non-CCUS | YES | EUPVSOLS101 | Residential c-Si, inclined | Buildings - Residential | Electricity generation |  | Variable | Solar | GW | PJ
Photovoltaics | non-CCUS | YES | EUPVSOLS201 | Commercial c-Si, flat | Industry | Electricity generation |  | Variable | Solar | GW | PJ
Solar Thermal Electricity | non-CCUS | YES | EEPP_CSP | Existing Electricity plant - CSP | Power sector | Electricity generation |  | Variable | Solar | GW | PJ
Solar Thermal Electricity | non-CCUS | YES | EUCSPSOL101 | Solar CSP Parabolic Through 6-8h storage | Power sector | Electricity generation |  |  | Solar | GW | PJ
Solar Thermal Electricity | non-CCUS | YES | EUCSPSOL201 | Solar CSP Parabolic Through no storage | Power sector | Electricity generation |  | Variable | Solar | GW | PJ
Solar Thermal Electricity | non-CCUS | YES | EUCSPSOL301 | Solar CSP Solar Tower 1h storage | Power sector | Electricity generation |  | Variable | Solar | GW | PJ
Solar Thermal Electricity | non-CCUS | YES | EUCSPSOL401 | Solar CSP Solar Tower 12-15h storage | Power sector | Electricity generation |  |  | Solar | GW | PJ
Solar Thermal Electricity | non-CCUS | YES | EUCSPSOL501 | Solar CSP Solar Dishes 12-15h storage | Power sector | Electricity generation |  |  | Solar | GW | PJ
Solar Thermal Electricity | non-CCUS | YES | EUCSPSOL601 | Solar CSP Power Fresnel | Power sector | Electricity generation |  | Variable | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-SH-FL_GAS01-SOLspl | Backup for Gas boiler - Solar thermal_SH-WH (FL) | Buildings - Residential | Heating |  |  | Solar | 000units | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | RSDCOO100 | Rsd.District Cooling.Absorption heat pump and free source. | Buildings - Residential | Cooling |  | Heat pump - air | Heat | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | RSDCOO200 | Rsd.District Cooling.Compressor heat pump and free source. | Buildings - Residential | Cooling |  | Heat pump - air | Heat | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | STGCOO01 | Cooling Storage (LWT): DayNite/Seasonal | Supply and transformation | Storage of HeatCool |  |  |  | PJ-a | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | STGCOO02 | Cooling Storage (UTES): DayNite/Seasonal | Supply and transformation | Storage of HeatCool |  |  |  | PJ-a | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | STGHTH01 | Thermal Storage (LWT): Seasonal | Supply and transformation | Storage of HeatCool |  |  |  | PJ-a | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | STGHTH02 | Thermal Storage (UTES): Seasonal | Supply and transformation | Storage of HeatCool |  |  |  | PJ-a | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-HO_ELC09 | Solar collector with electric backup.HeatHotwater - Hospital | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-HO_GAS08 | Solar collector with gas backup.HeatHotwater - Hospital | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-HO_OIL04 | Solar collector with diesel backup.HeatHotwater - Hospital | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-HR_ELC09 | Solar collector with electric backup.HeatHotwater - Hotels & Restaurant | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-HR_GAS08 | Solar collector with gas backup.HeatHotwater - Hotels & Restaurant | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-HR_OIL04 | Solar collector with diesel backup.HeatHotwater - Hotels & Restaurant | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-OF_ELC09 | Solar collector with electric backup.HeatHotwater - Offices (Offices, Schools/Universities, Museums etc) | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-OF_GAS08 | Solar collector with gas backup.HeatHotwater - Offices (Offices, Schools/Universities, Museums etc) | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-OF_OIL04 | Solar collector with diesel backup.HeatHotwater - Offices (Offices, Schools/Universities, Museums etc) | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-SL_ELC09 | Solar collector with electric backup.HeatHotwater - Shop – Large (shopping malls) | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-SL_GAS08 | Solar collector with gas backup.HeatHotwater - Shop – Large (shopping malls) | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-SL_OIL04 | Solar collector with diesel backup.HeatHotwater - Shop – Large (shopping malls) | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-SR_ELC09 | Solar collector with electric backup.HeatHotwater - Sport and Recreation | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-SR_GAS08 | Solar collector with gas backup.HeatHotwater - Sport and Recreation | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-SR_OIL04 | Solar collector with diesel backup.HeatHotwater - Sport and Recreation | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-SS_ELC09 | Solar collector with electric backup.HeatHotwater - Shop – Small (shops) | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-SS_GAS08 | Solar collector with gas backup.HeatHotwater - Shop – Small (shops) | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-SH-SS_OIL04 | Solar collector with diesel backup.HeatHotwater - Shop – Small (shops) | Buildings - Commercial | Heating |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | C_ES-WH-HO_SOL | Non Residential boiler for water heat - Hospital : Solar (COM) | Buildings - Commercial | Hot water |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-SH-DH_ELC02-SOLspl | Backup for Heat Pump Air-to-Air - Solar thermal_SH-WH (DH) | Buildings - Residential | Heating |  |  | Solar | 000units | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-SH-DH_GAS02-SOLspl | Backup for Gas boiler - Solar thermal_SH-WH (DH) | Buildings - Residential | Heating |  |  | Solar | 000units | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-SH-DH_OIL02-SOLspl | Backup for Oil boiler - Solar thermal_SH-WH (DH) | Buildings - Residential | Heating |  |  | Solar | 000units | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-SH-DH-70_ELC02-SOLspl | Backup for Heat Pump Air-to-Air - Solar thermal_SH-WH (DH-70) | Buildings - Residential | Heating |  |  | Solar | 000units | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-SH-DH-70_GAS02-SOLspl | Backup for Gas boiler - Solar thermal_SH-WH (DH-70) | Buildings - Residential | Heating |  |  | Solar | 000units | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-SH-DH-70_OIL02-SOLspl | Backup for Oil boiler - Solar thermal_SH-WH (DH-70) | Buildings - Residential | Heating |  |  | Solar | 000units | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-SH-FL_ELC02-SOLspl | Backup for Heat Pump Air-to-Air - Solar thermal_SH-WH (FL) | Buildings - Residential | Heating |  |  | Solar | 000units | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-SH-FL_GAS02 | Gas/LPG/Biogas boiler condensing + wt other techs_SH-WH (FL) | Buildings - Residential | Heating |  |  | Solar | 000units | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-SH-FL_OIL02-SOLspl | Backup for Oil boiler - Solar thermal_SH-WH (FL) | Buildings - Residential | Heating |  |  | Solar | 000units | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-SH-SD_ELC02-SOLspl | Backup for Heat Pump Air-to-Air - Solar thermal_SH-WH (SD) | Buildings - Residential | Heating |  |  | Solar | 000units | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-SH-SD_GAS02-SOLspl | Backup for Gas boiler - Solar thermal_SH-WH (SD) | Buildings - Residential | Heating |  |  | Solar | 000units | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-SH-SD_OIL02-SOLspl | Backup for Oil boiler - Solar thermal_SH-WH (SD) | Buildings - Residential | Heating |  |  | Solar | 000units | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-WH-DH_OIL02 | Solar water heater with diesel backup - Detached | Buildings - Residential | Hot water |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-WH-DH_SOL | Residential boiler for water heat - Detached house : Solar | Buildings - Residential | Hot water |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-WH-FL_OIL02 | Solar water heater with diesel backup - Flat | Buildings - Residential | Hot water |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-WH-FL_SOL | Residential boiler for water heat - Flat : Solar | Buildings - Residential | Hot water |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-WH-SD_OIL02 | Solar water heater with diesel backup - Semi-Detached | Buildings - Residential | Hot water |  |  | Solar | GW | PJ
Solar Thermal Heating and Cooling | non-CCUS | YES | R_ES-WH-SD_SOL | Residential boiler for water heat - Semi-detached house : Solar | Buildings - Residential | Hot water |  |  | Solar | GW | PJ
Sustainable advanced biofuels | CCUS | YES | BRF2_BTLFTDSL_CCS | FT-diesel production from lign biomass. CCS 2GenBiofuel. | Supply and transformation | Biofuel generation |  | 2nd generation biofuel | Other biomass |  | kt
Sustainable advanced biofuels | CCUS | YES | BRF2_ETHLGC_CCS | Ethanol production from lign. biomass. CCS 2GenBiofuel. | Supply and transformation | Biofuel generation |  | 2nd generation biofuel | Other biomass |  | kt
Sustainable advanced biofuels | non-CCUS | YES | BBLQDME110 | Gasification_ black liquor to DME | Supply and transformation | Biofuel generation |  |  | Biomass | GW | PJ
Sustainable advanced biofuels | non-CCUS | YES | BBLQFTST110 | Gasification_ black liquor to FT-diesel | Supply and transformation | Biofuel generation |  |  | Biomass | GW | PJ
Sustainable advanced biofuels | non-CCUS | YES | BBLQGAS110 | Gasification_ black liquor to methane | Supply and transformation | Biogas generation |  | Gasification | Biomass | GW | PJ
Sustainable advanced biofuels | non-CCUS | YES | BBLQMtaH110 | Gasification_ black liquor to methanol | Supply and transformation | Biofuel generation |  |  | Biomass | GW | PJ
Sustainable advanced biofuels | non-CCUS | YES | BRF1_ETHAMIDO | Ethanol production from starch crops.1GenBiofuel. | Supply and transformation | Biofuel generation |  | 1st generation biofuel | Other biomass |  | kt
Sustainable advanced biofuels | non-CCUS | YES | BRF1_ETHSUCRI | Ethanol production from sugar crops.1GenBiofuel. | Supply and transformation | Biofuel generation |  | 1st generation biofuel | Other biomass |  | kt
Sustainable advanced biofuels | non-CCUS | YES | BRF1_HVO | Hydrotreated vegetable oil.1GenBiofuel. | Supply and transformation | Biofuel generation |  | 1st generation biofuel | Other biomass |  | kt
Sustainable advanced biofuels | non-CCUS | YES | BRF1_PREETBE | ETBE production.1GenBiofuel. | Supply and transformation | Biofuel generation |  | 1st generation biofuel | Other biomass |  | kt
Sustainable advanced biofuels | non-CCUS | YES | BRF1_TRANSESTER | Transesterification of vegetable oils.1GenBiofuel. | Supply and transformation | Biofuel generation |  | 1st generation biofuel | Other biomass |  | kt
Sustainable advanced biofuels | non-CCUS | YES | BRF2_BTLFTDSL | FT-diesel production from lignocellulosic biomass.2GenBiofuel. | Supply and transformation | Biofuel generation |  | 2nd generation biofuel | Other biomass |  | kt
Sustainable advanced biofuels | non-CCUS | YES | BRF2_ETHLGC | Ethanol production from lignocellulosic biomass.2GenBiofuel. | Supply and transformation | Biofuel generation |  | 2nd generation biofuel | Other biomass |  | kt
Sustainable advanced biofuels | non-CCUS | YES | BSLUGAS101 | Decomposition_ bio waste to biogas (methane) | Supply and transformation | Biogas generation |  | Gasification | Other biomass | GW | PJ
Sustainable advanced biofuels | non-CCUS | YES | BWOOGAS110 | Gasification_ biomass (tree salix etc) to methane | Supply and transformation | Biogas generation |  | Gasification | Other biomass | GW | PJ
Sustainable advanced biofuels | non-CCUS | YES | CRUSHING | Oilseeds crushing | Supply and transformation | Biofuel generation |  |  | Other biomass |  | kt
Wind Energy | non-CCUS | YES | EEPP_windOFF | Existing Electricity plant - windOFF - offshore | Power sector | Electricity generation |  | Variable | Wind | GW | PJ
Wind Energy | non-CCUS | YES | EEPP_windON | Existing Electricity plant - windON - onshore | Power sector | Electricity generation |  | Variable | Wind | GW | PJ
Wind Energy | non-CCUS | YES | EUWINOFH01 | Wind offshore both Monopile and Jacket | Power sector | Electricity generation |  | Variable | Wind | GW | PJ
Wind Energy | non-CCUS | YES | EUWINOFL01 | Not used | Power sector | Electricity generation |  | Variable | Wind | GW | PJ
Wind Energy | non-CCUS | YES | EUWINOFM01 | Not used | Power sector | Electricity generation |  | Variable | Wind | GW | PJ
Wind Energy | non-CCUS | YES | EUWINOFV01 | Wind offshore 4 floating (>50m) | Power sector | Electricity generation |  | Variable | Wind | GW | PJ
Wind Energy | non-CCUS | YES | EUWINONH01 | Wind onshore CF25+ | Power sector | Electricity generation |  | Variable | Wind | GW | PJ
Wind Energy | non-CCUS | YES | EUWINONL01 | Wind onshore CF15-20 | Power sector | Electricity generation |  | Variable | Wind | GW | PJ
Wind Energy | non-CCUS | YES | EUWINONM01 | Wind onshore CF20-25 | Power sector | Electricity generation |  | Variable | Wind | GW | PJ
Wind Energy | non-CCUS | YES | EUWINONV01 | Not used | Power sector | Electricity generation |  | Variable | Wind | GW | PJ
| CCUS - related | YES | CHPINDGAS301 | CHP: Comb CYC condensing L.GAS.IND | Industry - Other | CHP |  |  | Gas (possibly blended) | GW | PJ
| CCUS - related | YES | EUCCGTGAS15 | Gas Turbine Combined Cycle Gas Advanced | Power sector | Electricity generation |  |  | Gas (possibly blended) | GW | PJ
| CCUS - related | YES | EUIGCCCOH15 | Integrated Gasification Combined Cycle coal | Power sector | Electricity generation |  |  | Coal | GW | PJ
| CCUS - related | YES | EUIGCCCOL01 | IGCC Integrated Gasification Combined Cycle lignite | Power sector | Electricity generation |  |  | Coal | GW | PJ
| CCUS - related | YES | EUSTCOHsup01 | Supercritical Pulverised Coal | Power sector | Electricity generation |  |  | Coal | GW | PJ
| CCUS - related | YES | EUSTCOLsup01 | Supercritical Pulverised Coal lignite | Power sector | Electricity generation |  |  | Coal | GW | PJ
| CCUS - related | YES | EUSTHFOsup01 | Steam Turbine Fuel Oil Supercritical | Power sector | Electricity generation |  |  | Petroleum (possibly blended) | GW | PJ
| CCUS - related | YES | IAMADVPRO10 | IAM.Advanced Production.10. | Industry - Chemical | Other industry |  |  |  | Mta | Mt
| CCUS - related | YES | ICMDRYPRD01 | ICM.Dry Process Production.01 | Industry - Mineral | Process heat |  |  |  | Mta | Mt
| CCUS - related | YES | IGFFLATGL10 | IGF.Glass Flat heat recovery_improv burners.10. | Industry - Mineral | Process heat |  |  | Gas (possibly blended) | Mta | Mt
| CCUS - related | YES | IGHHOLLOW10 | IGH.Glass Hollow heat recovery_improv burners.10. | Industry - Mineral | Process heat |  |  | Gas (possibly blended) | Mta | Mt
| CCUS - related | YES | IGHRECYCL05 | IGH.Glass Recycling improved melting.05. | Industry - Mineral | Process heat |  |  | Gas (possibly blended) | Mta | Mt
| CCUS - related | YES | IISBLAFURDCI05 | IIS.Iron Blast Furnace direct coal injection.05. | Industry - Steel | Process heat |  |  | Coal | Mta | Mt
| CCUS - related | YES | IISBLAFURTGR10 | IIS.Iron Oxygen Blast Furnace Top Gas Recirculation.10. | Industry - Steel | Process heat |  |  | Coal | Mta | Mt
| CCUS - related | YES | IISCOREX01 | IIS.Iron COREX.01 | Industry - Steel | Process heat |  |  |  | Mta | Mt
| CCUS - related | YES | IISDRISPN01 | IIS.Iron Sponge Iron for DRI.01 | Industry - Steel | Process heat |  |  |  | Mta | Mt
| CCUS - related | YES | IPPHIGQUA05 | IPP.High Quality Paper Production Adv Drives.05. | Industry - Other | Process heat |  |  |  | Mta | Mt
| CCUS - related | YES | IPPLOWQUA05 | IPP.Low Quality Paper Production Adv Drives.05. | Industry - Other | Process heat |  |  |  | Mta | Mt
| CCUS - related | YES | IPPPUPMEC10 | IPP.Mechanical Pulp Production Airless drying.10. | Industry - Other | Process heat |  |  |  | Mta | Mt
| CCUS - related | YES | PUCAGAS | CHP: Com cycle GT.Adv.GAS.PUB | Power sector | CHP |  |  | Gas (possibly blended) | GW | PJ
| CCUS - related | YES | PUCGAS | CHP: Com cycle GT.GAS.PUB | Power sector | CHP |  |  | Gas (possibly blended) | GW | PJ
| CCUS - related | YES | PUIGAS | CHP: Int Combust.GAS.PUB | Power sector | CHP |  |  | Gas (possibly blended) | GW | PJ
| CCUS - related | YES | PUSCCOH | CHP: Steam.Turbine.SupCr.COH.PUB | Power sector | CHP |  |  | Coal | GW | PJ
| CCUS - related | YES | PUSCCOL | CHP: Steam.Turbine.SupCr.COL.PUB | Power sector | CHP |  |  | Coal | GW | PJ
| CCUS - related | YES | PUSCOH | CHP: Steam.Turbine.COH.PUB | Power sector | CHP |  |  | Coal | GW | PJ
| CCUS - related | YES | PUSCOL | CHP: Steam.Turbine.COL.PUB | Power sector | CHP |  |  | Coal | GW | PJ
| CCUS - related | YES | PUSGAS | CHP: Steam.Turbine.GAS.PUB | Power sector | CHP |  |  | Gas (possibly blended) | GW | PJ

## Scenario names
01_ | Baseline_RefL | 01_Baseline_RefL
02_ | Diversified_LowL | 02_Diversified_LowL
03_ | Diversified_RefL | 03_Diversified_RefL
04_ | Diversified_HighL | 04_Diversified_HighL
05_ | Diversified_CCS_IND_Only | 05_Diversified_CCS_IND_Only
06_ | Diversified_CostCapital | 06_Diversified_CostCapital | Most probable result is like 03
07_ | Diversified_LowFossilPrice | 07_Diversified_LowFossilPrice | Even more fossil ?
08_ | Diversified_RES_EE | 08_Diversified_RES_EE
09_ | PRORes_LowL | 09_PRORes_LowL
10_ | PRORes_RefL | 10_PRORes_RefL
11_ | PRORes_HighL | 11_PRORes_HighL
12_ | PRORes_SET | 12_PRORes_SET | Include Lifetime PV as well as SET-plan CSP
13_ | PRORes_OffshoreDepl | 13_PRORes_OffshoreDepl | Maybe already in HighL ?
14_ | PRORes_HighForest | 14_PRORes_HighForest
15_ | PRORes_NoCCU | 15_PRORes_NoCCU
16_ | PRORes_MaxBiofuel | 16_PRORes_MaxBiofuel
?? | PRORes_CSP | ONLY CSP without the PV reduction | entry CAPEX derived from other runs